Overview

ON THE ECONOMICS OF NUCLEAR BETWEEN PROMISES AND FULLFILMENTS

### Reinhard HAAS

Energy Economics Group, Vienna University of Technology, 1040 Wien, E-mail: haas@eeg.tuwien.ac.at

## Low costs of electricity generation are a major argument put in the discussion  in favour of new nuclear power plants. Despite some concessions has been made by the advocates of nuclear since the period of “Too cheap to meter” this argument is still used to favour supply-side nuclear generation vs renewables and energy conservation on the demand-side.

## The core objective of this paper is to document why this argument is still no longer valid and how the wrong predictions regarding investment costs and construction times look like for some recent developments. Major focus is put on the costs for interest which strongly depend on the construction time.

## Methods

## Our method of approach is based on three issues: (i) a discussion of technological learning; (ii) an analysis of the empirical historical data of construction times and costs and (iii) a simple calculation of the Net Present Value (NPV) of power plants depending on interest rates, price increases and construction times. We show how the NPV of power plants develops if the construction time changes.

## Results

The major results of our analysis are:

With respect to “Learning”: As Fig. 1 depicts nuclear was even the times of booming plant construction one of the few exceptions in the sense that additional capacities constructed did not lead to resulting cost reductions. The reasons are explained in Fig. 2.

| Fig. 1. Technological learning for various technologies | Fig. 2. Why technological learning did not take place for nuclear |
| --- | --- |

## Fig. 3 depicts the principle of cost increases due to delays in construction times for the currently constructed nuclear power plant in Olkiluoto in Finland. We can see for the example of a delay in construction time of 3 years lead to a cost increase from 3.8 cent /kWh to 5.1 cent /kWh simply due to the icreases in interest costs.

## Fig. 3. Principle of cost increases due to delays in construction times for the nuclear power plant Olkiluoto in Finland

## Conclusions

## Regarding the economics of NPP in Western industrialized countries a huge gap between the promises of the industry with respect to Learning as well as with respect to announced and achieved costs of plant construction exist, see Fig. 4. As this situation now persists almost 40 years we conclude that in the near future there is no sign that the promised economic benefits looking at the full costs of construction only will ever be provided.

| ## Fig. 4. Announced and actual costs of nuclear | ## Fig. 5. Cost promises and fulfilment of Nuclear vs costs of energy conservation measures |
| --- | --- |

## Another major conclusions refers to the relation to energy conservation measures: the gaps between the promises of the nuclear industry were and are a major impediment for investments in energy efficiency, see Fig. 5. The argument was/is as follows:

## à Announcement in advance: Nuclear leads to cheaper electricity making energy conservation economically unattractive;

## à After (delayed) completion: Nuclear leads to higher electricity prices which in the aftermath would have made energy conservation comparably economically attractive;

## References

## Grübler Arnulf: Nuclear power, Energy Policy, 2011.

Grübler/Nakicenovic: technology diffusion, 1995.

## Harding Jim: Seven Myths of the Nuclear Renaissance, 2007.

## Thomas Steve: The economics of nuclear power, 2005.