ENERGY SECURITY IN HYDROPOWER SYSTEMS

Adilson de Oliveira, Instituto de Economia da Universidade Federal do Rio de Janeiro, 55 21 38735272, adilson@ie.ufrj.br

Getulio Borges da Silveira, Instituto de Economia da Universidade Federal do Rio de Janeiro, 55 21 38735272, getulio@ie.ufrj.br

Luciano Losekann, Faculdade de Economia da Universidade Federal Fluminense, 55 21 38735272, losekann@economia.uff.br

## Overview

## Energy security is a critical concern for liberalized power systems. When it comes to thermal systems this issue is by large associated with the lack of peak load capacity. Supply security in hydropower systems is heavily dependent on the coordination between energy storage in water reservoirs and thermal power plants dispatch. That is the case of Brazil, where half of annual electricity consumption can be stored in hydro power reservoirs. Despite that, Brazil faced a power rationing in 2001 and today supply security is again under risk.

## Methods

## We review this literature and discuss a number of aspects relevant for liberalized systems. The literature on hydropower systems has it focus on the minimum cost for the dispatch of the system, assuming a centralized system operator that minimizes the social cost of supply shortage.  It is the way that the Brazilian system operator works. We suggest an alternative approach where decisions are decentralized subject to a maximum use of the hydropower reservoirs fixed by the government.  We will use a computational model to simulate the Brazilian electricity system and we will compare results, regarding security of supply and operational and investment costs.

## Results

## Our expected result is that if the maximum use of reservoirs is defined in a preventive way, the decentralized model will generate better results than the centralized one. The benefits in terms of security of supply and avoided investments will more than compensate higher operational costs.

## Conclusions

The power rationing of 2001/2002 and the recent spike of Brazilian short term electricity prices suggest that the current dispatch model implies in over depletion of hydropower reservoirs. We suggest a major change in this model.

## References

ANEEL (2006), Legislação Básica. Brasília, ANEEL. http://www.aneel.gov.br

CCEE (2007), Leilão de Energia Nova – Resultados. Brasília, CCEE. http://www.ccee.org.br

CCEE (2007a), Histórico dos Leilões – Resultados. Brasília, CCEE. http://www.ccee.org.br

CRAMTON, P AND S STOFT (2006), The Convergence of Markets Designs for Adequate Generating Capacity with Special Attention to the CAISO´s Resource Adequacy Problem. White Paper for the Electricity Oversight Board.

DE OLIVEIRA, A. (2003) The Political Economy of the Brazilian Power Industry Reform. Working Paper 2. Stanford, Program on Energy and Sustainable Development/Stanford University. http://pesd.stanford.edu

DE OLIVEIRA, A; AND J. WOODHOUSE, L. LOSEKANN, AND F. V.S. ARAUJO (2005), The IPP Experience in the Brazilian Electricity Market. Working Paper n. 53. Palo Alto, Program on Energy and Sustainable Development at Stanford University. http://pesd.stanford.edu

DIAS LEITE, A. (1997). A Energia do Brasil. Rio de Janeiro, Nova Fronteira.

EPE (2007), Balanço Energético Nacional 2007 – Resultados Preliminares. Rio de Janeiro, EPE. http://www.epe.gov.br

GLENDE, I; T TELLEFSEN AND B WALTHER (2005), Norwegian System Operation facing a Tight Capacity Balance and Sever Supply Conditions in Dry Years. Hidropower’05. Stavanger, Norway.

JOSKOW, P. (2006), Competitive Electricity Markets and Investment in New Generating Capacity. Draft Paper.  Available in: econ-www.mit.edu/faculty/download_pdf.php?id=1348.

LOSEKANN, L. (2003), Reestruturação do Setor Elétrico Brasileiro: Coordenação e Concorrência. Ph.D Thesis. Rio de Janeiro, IE/UFRJ.

MME (2006), Balanço Energético Nacional - 2006. Brasília, MME.

ONS (2006), Data available in the website: www.ons.com.br.

SAUER, I. (2003) (Ed.), Reconstrução do Setor Elétrico Brasileiro. Rio de Janeiro, Paz e Terra.