Economic Potential of Renewable Energy in Vietnam’s Power Sector

Nguyen Thanh Nhan1 and Minh Ha-Duong2

1Ph.D student, Centre International de Recherche sur l'Environnement et le Développemen, CIRED-CNRS.

2Chargé de Recherche, Centre International de Recherche sur l'Environnement et le Développemen,CIRED-CNRS.

Corresponding author: Nguyen Thanh Nhan <nhan@centre-cired.fr>

5 June 2008

Abstract

In this study we use the bottom-up Integrated Resource Planning model to examine the potential of renewable energy in Vietnam’s power sector. In our scenario without renewables, coal provides 44% of electricity generated from 2010 to 2030. The use of renewables could reduce that figure to 39%, as well as decrease the sector’s cumulative emission of CO2 by 8%, SO2 by 3%, and NOX by 4%.  In addition, it could avoid installing 4.4 GW in fossil fuel generating capacity, conserve domestic coal, and decrease coal and gas imports. Wind could become cost-competitive assuming high but plausible on fossil fuel prices, if the cost of the technology falls to 900 US$/kW. For wood to compete at higher fossil fuel prices, the cost of its technology would have to fall to 1,500US$/kW.

Key words: integrated resource planning, renewable energy, electricity generation, Vietnam