Implementing Renewables for Electricity - Experiances in Europe and Germany

Prof. Dr.-Ing. H.-J. Wagner, Ruhr-Universität Bochum - Lehrstuhl Energiesysteme und Energiewirtschaft,
+49 (0)234 32-28044, lee@lee.ruhr-uni-bochum.de

## Overview

Over the past decade, the energy landscape in Europe started to change. The issue was to significantly reduce CO2-emissions, to substitute fossil for renewable energy and to increase the efficiency of electricity generation. Connected to that, many investments were taken to primarily build plants for renewable energy generation, especially for wind, photovoltaic and biomass applications. Regarding this, the presentation will highlight the European and especially German electricity market with a special look at the implementation of renewable energies.

## Methods

There is no comprehensive coordination concerning the further development of the power generation in the EU. However, the EU defined not binding goals for the reduction of CO2-emissions and the implementation of renewable energies for the whole EU. However, each state focusses on a federal policy and historically uses their available renewable energy sources and domestic non-renewable resources. In general, electricity in Europe is mostly generated by coal, gas and nuclear power. The renewable generation is different in every single state. Spain, for example, focusses on the development of concentrating solar power (CSP - solar farm and solar tower power plants), due to their high solar radiation and a high proportion of direct radiation. Great Britain has large investments in wind energy on- and offshore and Austria due to its alpine countryside uses a large amount of hydroelectric generation. Germany’s electricity generation is dominated by coal, gas and nuclear generation. However, the subsidies for Germany’s hard coal mining will end in 2018 and a nuclear phase out will be performed until the end of 2022. For this reasons Germany’s government undertakes multiple acts to reconstruct the electricity generation with a special focus on the implementation of renewable energies.

## Results

For the implementation of renewables, the German government started the renewable energy act in 2000, followed by many amendments. In 2010, Germany released targets for CO2-reduction of 40 % until 2020 and 80 % until 2050 related to the values of 1990. Additionally, the goals for implementing renewables into electricity generation were defined: 50 % until 2030 and 80 % until 2050. [BMU_BMWI2010]

Due to high wind potentials at Germany’s coastline, wind energy should play a decisive role. Therefore, Germany’s new government plans to install offshore wind energy of 6.5 GW until 2020 and 15 GW until 2013. By reason of financing difficulties, missing floating cranes and insufficient experiences in the past, until now only 520 MW offshore wind energy is installed. In 2013, 2.5 GW wind energy converters were installed onshore [EE2014]. Besides biomass, Germany utilizes photovoltaic cells instead of CSP with a highly rising installed capacity in the last years. Because of the low proportion of direct radiation in Germany, CSP is inefficient.

This background results in portions for wind energy of 7.9 %, biomass of 6.8 %, photovoltaic cells of 4.5 %, hydroelectric power of 3.4 % and municipal waste of 0.8 % for the year 2013. All renewable energy sources accounted for 23.4 % in total for the electricity generation, the all-time record. [BDEW2014]

## Conclusions

The high fluctuating power generation by wind energy and photovoltaic cells result in essential additional installations in the electricity grid – especially in north to south direction, due to the installed wind capacity in the north and the missing capacities of decomposed nuclear power plants in the south. To keep the high security of electricity supply in Germany, 1,855 km high voltage grid should be installed between 2009 and 2015 – only 268 km are realized yet [EE2014]. Due to the fact that wind and solar energy supply is fluctuating, there is a need for storages or back up capacity to bridge times where wind and solar resources are not available. By now the installed capacity of storages is low, so fossil power plants have to be used as back up.

## References

[BDEW2014]	Bundesverband der Energie- und Wasserwirtschaft: Entwicklungen in der deutschen Stromwirtschaft 2013, http://www.ag-energiebilanzen.de/index.php?article_id=29&fileName=praesentation_strom_2013.pdf, Hamburg, 17.12.2013, Download: 15.01.2014

[BMU_BMWI2010]	Bundesministerium für Wirtschaft und Technologie; Bundesministerium für Umwelt, Naturschutz und Reaktorsicherheit: Energiekonzept für eine umweltschonende, zuverlässige und bezahlbare Energieversorgung, BMWi und BMU Öffentlichkeitsarbeit, Berlin, 2010

[EE2014]	Erneuerbare Energien das Magazin: Recordzubau 2013 / Netzausbau: Droht 2016 der Engpass?, ISSN: 1436-8773w, Hannover, 01.2014