Keywords

Check proposal type:   Typical Concurrent Paper_X__      Extended Presentation Paper___

ELECTRICITY MARKET modelling of network investments:

cOMPARISON OF ZONAL AND NODAL approaches

Sadhvi Ganga, UNSW/TransGrid, +61-2-92843203, s.ganga@student.unsw.edu.au

Iain Ferguson MacGill, UNSW, +61-2-93854920, i.macgill@unsw.edu.au

electricity market, generation dispatch, power system planning, zonal, nodal

## Overview

Economic justification of network investments within restructured electricity industries, by methods involving cost-benefit analysis, can be required to cover the ‘life’ of the asset, which may span several decades, while assessing its implications for other industry investment and overall economic outcomes [1]. Quantification of market benefits which may arise as a result of the investment, will often involve the application of electricity market simulation models to forecast long-term market outcomes. These models inevitably have significant limitations and involve many underlying assumptions, since the modelling is undertaken in the context of considerable uncertainties such as levels of future electricity demand, market arrangements and energy policy [2]. Nevertheless, the simulated future market outcomes produced by these models may play a critical role in network investment decision-making.

In the Australian National Electricity Market (NEM) Regulatory Investment Test for Transmission (RIT-T), market benefits refer to the incremental benefit of a credible option (augmented case) over the base case [1]. Examples of market benefits include generation dispatch cost savings and a reduction of Unserved Energy (USE). The NEM currently operates under a zonal market structure, which involves a commercial simplification of its underlying transmission network, whereby nodes, in theory close in electrical distance, hence with similar price (marginal cost) outcomes, are grouped together to form a smaller number of zones. The NEM currently consists of five zones (New South Wales (NSW), Queensland , South Australia, Victoria, and Tasmania). Accordingly, electricity market simulation models of the NEM developed by the Australian Energy Market Operator (AEMO) as part of its preparation of the National Transmission Network Development Plan (NTNDP), have adopted a zonal modelling approach [3].

This approach, however, poses challenges for assessing the market benefits of network investment, both within and between zones. For the 2010 NTNDP, some constraint equations incorporating formulation of static coefficients of market variables have been calculated exogenously to the electricity market model by AEMO. An important example of this is the estimation of market variables such as interconnector flows subject to constraints such as thermal contingency requirements. Constraint equations form a fundamental component of the Linear Programming (LP) technique, by defining the bounds of the feasible solution space and ultimately the optimal market dispatch. A network investment (augmented case) has the potential to impact on the magnitude and perhaps the sign of the coefficients of market variables, and extensive, time-consuming, power system analysis studies may be required to discern this impact. In the absence of such power system analysis due to time constraints, the augmented case could be modelled by an increase in the Right Hand Side (RHS) of relevant constraint equations which are impacted by the network investment.

By comparison, a nodal electricity market modelling approach represents network nodes explicitly, and can therefore enable dynamic endogenous formulation of thermal contingency constraints. Modelling of a network investment which increases the thermal capacity of a section of network can readily be modelled by increasing the capacity of the relevant links (lines).

This empirical investigation examines the differences in generation dispatch outcomes between aggregative zonal and explicit nodal modelling approaches for the NSW transmission network within the NEM, between base case and augmented case conditions. The key matter of interest is whether the adopted modelling approach could potentially impact indication of whether a network investment may be economically efficient.

## Methods

A commercially available electricity market simulation software tool, PROPHET, has been used for model development and simulation. PROPHET is a product owned and supported by Intelligent Energy Systems (IES). PROPHET is one of the key tools used by AEMO in its preparation of the NTNDP. The 2010 NTNDP dataset and assumptions formed the basis for the NSW Single Node Model (zonal model) and NSW Multi-Node Model (nodal model) development. Some modifications to the 2010 NTNDP dataset and assumptions were made to improve alignment between simulated market outcomes and generator operational limits and historical observations. Hourly market model load traces were developed for each of the five NEM zones. The 2011 Jurisdictional Planning Body (JPB) ‘Medium Economic Scenario’ 10% and 50% Probability of Exceedance (POE) Maximum Demand (MD) and Energy forecasts formed the basis for the load trace development [4] - [8]. Fiscal 2010/2011 historical data was used as the base year upon which the forecast load traces were developed. Load treatment was on an ‘As generated’ basis for the zonal model, and on an ‘At Node’ basis for the nodal model. Diversified load traces at unity power factor were developed for thirty-five NSW High Voltage (HV) Bulk Supply Points (BSP) for the nodal model. The NSW nodal model physical network expansion was limited to meshed HV transmission (500 kV, 330 kV, and 220 kV) and totalled sixty-eight nodes and eighty-two HV transmission lines (or one hundred and six links including transformer modelling) represented by resistance and reactance parameters. The extent of the physical NSW network representation for the zonal model, was a single node in the Sydney West area (the zonal reference node), and the only transmission lines represented were the interconnectors between NSW and the neighbouring interconnected zones of Queensland and Victoria.

With respect to intra-zonal transmission constraints, the zonal model maintained representation of N-1 thermal contingency constraints as per the 2010 NTNDP definition. For the nodal model, the intra-zonal NSW N-1 thermal contingency constraints contained within the 2010 NTNDP dataset were removed. Instead, the N-1 thermal contingency constraint definition was dynamically endogenously formulated by the PROPHET ‘N Minus One’ module for the given NSW intra-zonal network topology, and pre- and post- contingency line ratings.

The modelled NSW 300 MW intra-zonal augmentation aimed to increase the thermal capacity of the transmission corridor. Modelling of this augmentation for the zonal approach, involved increasing the RHS of relevant ‘Nil outage,’ ‘15-minute’ and N-1 thermal constraint equations only. For the nodal approach, modelling of this augmentation involved increasing the capacity of links being augmented (thereby impacting the dynamic formulation of the N-1 thermal contingency constraints), in addition to increasing the RHS of relevant  ‘Nil outage’ and ‘15-minute’ thermal constraint equations.

Time sequential security constrained economic dispatch (SCED) was simulated for both the zonal and nodal models.

## Results

For the zonal model, generation dispatch costs were counter-intuitively higher in the augmented case relative to the base case, indicating negative market benefits for the network investment. In contrast, generation dispatch costs in the augmented case were lower relative to the base case for the nodal model, indicating positive market benefits. While still preliminary, these results do demonstrate that the LP feasible solution space definition and the approach of modelling augmentations within the electricity market model can potentially have impact on indication of whether a network investment may be economically efficient.

## Conclusions

These results apply to modelling undertaken with PROPHET. However, the intent is to highlight the impact LP feasible solution space definition and this approach to modelling augmentations within electricity market simulation models, may have on optimal dispatch outcomes. This may well apply to other electricity market simulation software tools as well. This empirical investigation focussed on treatment of line thermal limitations and modelling approach between the base case and the augmentation case. Future work may also consider treatment of other power system constraints, such as voltage, transient and oscillatory stability.

## References

[1]	Australian Energy Regulator, Regulatory investment test for transmission (RIT-T) and application guidelines 2010.

- [2]	A.M. Foley, B.P. O Gallachoir, J. Hur, R. Baldick and E.J. McKeogh, “A strategic review of electricity systems models,” ELSEVIER Energy, vol. 35, pp. 4522-4530, 2010.

- [3]	Australian Energy Market Operator, 2010 National Transmission Network Development Plan.

- [4] 	TransGrid, Annual Planning Report 2011.

- [5] 	Powerlink, Annual Planning Report 2011.

- [6] 	Australian Energy Market Operator, 2011 Victorian Annual Planning Report.

- [7] 	Australian Energy Market Operator, 2011 South Australian Supply and Demand Outlook.

[8] 	Transend, Annual Planning Report 2011.