Hybrid grid expansion planning with a high share of renewables: an austrian Case study in the city of salzburg

Andreas Fleischhacker, TU Wien (EEG), Austria, +43158801370361, fleischhacker@eeg.tuwien.ac.at

Felix Hembach, , TU Wien (EEG)

Daniel Schwabeneder, TU Wien (EEG)

Hans Auer, TU Wien (EEG)

## Overview

The key question of planning energy infrastructure is which kind of technology provides the most advantages in terms of economic, environmental and security of supply issues. So far, energy infrastructure e.g. electricity, gas and heat grids are planned and operated usually independently from each other. This is not least due to the implementation of unbundling rules in competitive energy markets, where market participants maximize their individual benefits and profits. Therefore, synergies, as long as they are compatible with the implemented regulations and market rules, are envisaged in this paper.

In urban regions, the power and heat supply is commonly provided via grid based infrastructure such as gas, district heating and electricity grids. Through the expected future implementation of energy efficiency measures and innovative renewable technologies such as solarthermal and photovoltaic systems, a massive reduction in demand is expected. A lower amount of energy distributed/sold causes economic losses for the distribution grid operators (assuming unchanged grids tariffs). By considering the possibility of substituting other energy carriers (e.g. using electric driven heat pumps instead of district heating or CHP) synergies can be used preparing the energy grids for future challenges. E.g. instead of investing in a grid expansion, energy can be provided via other energy grids. This work investigates, whether economic or enviromentals benefits by the integration of alternative generation or energy efficiency measures within a district heating system can be achieved. A further questions is how the costs allocation (due to investement and operation of new generation and distribution units) will be changed.

## Methods

In this work an two stage optimization model minimizing the heating system’s (focused on district heating) total costs is implemented. A flow model is used that considers all costs of examined technologies (investment, fuel, operation and maintenance costs). It is based on a network flow approach developed in (Dorfner und Hamacher 2014) in combination with the modelling of heat and power generation according to (Kienzle 2011; Geidl 2007). In this work, three energy carriers (electricity, natural gas and heat) are modelled by economic and technical restrictions/parameters (techno-economic model) to satisfy the heat demand of the city Salzburg. A further part of this work’s methodology is the integration and optimum dispatch of centralized (e.g. thermal power plants) and dezentralized (e.g. photovoltaic or solarthermal plants) generation units with the approach presented in (Rong and Lahdelma 2007). In an Austrian case study the existing district heating grid infrastructure of Salzburg City is modelled as well as various opportunies for future grid expansion within the city in a spatial and temporal resolution.

In a first step the model is verified by evaluating the status quo in accordance with available data. In a second step the optimum state (due to investment and operation costs) of all three energy grids is determined. Furthermore various scenarios were developed to consider e.g. energy efficiency measures, intergration of distributed generation of heat (via heat pumps) and a fuel switch to biomass.

## Results and Conclusions

The expected results of the investigated cases shall indicate optimal investment strategies in grid infrastructure differentiated by the described scenarios. The results shows that economic advantages can be achieved by diversifying the fuel suppy. Effects of various parameters (like development in fuel prices, demand reduction due to energy efficiency mesasures) will be investigated via sensitivity analyses.

## References

Dorfner, J. und Hamacher T.(2014). Large-Scale District Heating Network Optimization. In: Smart Grid, IEEE Transactions on 5.4, S. 1884–1891

Geidl, M., 2007. Integrated Modeling and Optimization of Multi-Carrier Energy Systems. Dissertation.

Kienzle, F., 2011. Valuing Investments in Multi-Energy Conversion, Storage, and Demand-Side Management Systems Under Uncertainty. IEEE Transactions on Sustainable Energy, 2, 194–202.

Rong, A. und Lahdelma, R. (2007). “Efficient algorithms for combined heat and power production planning under the deregulated electricity market”. In: European Journal of Operational Research 176.2, S. 1219–1245.