The Role of Frequency Regulation with High-Penetration of Renewable Energy Sources

Claudio A. Agostini, Universidad Adolfo Ibañez, (562)23311130, Claudio.agostini@uai.cl

Carlos Silva, (562)23311456 Universidad Adolfo Ibañez, c.silva@uai.cl

Shahriyar Nasirov, (562)23311777, Universidad Adolfo Ibañez, shahriyar.nasirov@uai.cl

Franco A. Armijo, Universidad Adolfo Ibañez, franco.armijo2007@alumnos.uai.cl

## Overview

In recent years, electricity generation from intermittent renewable sources like wind and solar energy has increased substantially in Latin America. Renewable sources of energy are cleaner than conventional sources and can play a significant role in reducing greenhouse emissions. In the case of Chile, they can also have an important impacting reducing local pollution and its significant negative effects on human health. However, one of the main challenges emerging from high penetration rates of renewable energy sources in the energy mix of power systems is the increasing need of faster-ramping the resources participating in the frequency regulation services.

As part of a long-term energy strategy, the Chilean government has established the goal of increasing the share of renewable energy sources in the energy matrix to 70% by 2050. The current trends in the growth of renewable energy projects and the government´s ambitious goals for their integration in the energy matrix indicate that the entrance of massive variable generation capacity from renewable sources to the grid will probably occur in the near future. In fact, a large scale of renewable projects of about 20.300MW with environmental approval, most of them sidelined, is waiting to enter the grid, and projects for additional 9.000 MW are under evaluation. In a market like this, with a high penetration of renewables, the lack of regulation capabilities from variable technologies generates a significant stress on conventional generators that need to provide frequency regulation to the system without the help of their renewable counterparts.

## In 2012, for the first time the Chilean market operator introduced a new regulatory scheme for ancillary services that explicitly considers the cost of frequency regulation in the system. The new regulatory scheme set a fixed-compensation mechanism for the generators providing the frequency regulation service when they need additional maintenance, fuel consumption and investments to provide the service. However, for the future development of a market with a high penetration of renewables, it may be necessary to develop a market-based mechanism for financing the provision of the necessary frequency regulation service.

## This paper studies the role of frequency regulation in an energy matrix with high penetration of renewables and examines the long-term economic incentives for the main generation technologies in the power system. The aim is to quantify the profitability of different generation technologies under a market-based regulatory mechanism and compare its effects with respect to the current cost-based regulatory scheme. In particular, we evaluate profitability and the economic incentives to invest under both regulatory schemes.

## Methods

The methodology used for the empirical analysis considers an Economic Dispatch Model - Optimization of Unit commitment (UC) problem using Mixed-integer linear programming (MILP). The market-based regulatory mechanism and the current cost-based scheme are both simulated for different levels of renewable penetration in the Chilean power system (ranging from 10% to 20%). The main modeling elements in this segment of the Chilean system include thermal power plants (gas natural, diesel and coal), renewable energy plants (solar and wind energy), transmission flows and procurement of reserves. The generators in the system use both slow-responding units (i.e. coal-firing plants) and fast-responding units (from gas and diesel-burning plants).  In addition, the model uses forecast for wind and solar generation.  PLEXOS simulates the unit commitment (including, start up or shut down decisions) and dispatch (matching generation levels to load levels) of power generation units under a bunch of constraints. The data used for this purpose comes from the Northern Interconnection System (CDEC-SING) and it includes information on installed capacity of selected power plants, hourly power plant generation, hourly marginal cost on the transmission lines, and technical characteristics of each plant.

## Results

The empirical analysis simulates four different scenarios of high penetration rates of renewable energies in the Chilean power system. In each scenario both alternative regulatory schemes for financing the frequency regulation services are considered. Then the effects on conventional and renewable technologies by applying two different remuneration methods are considered. Then, the economic effects on conventional and renewable technologies are evaluated with particular emphasis on profitability and the incentives to invest. The results show that as intermittent renewable capacity increases in the power system, the average marginal cost of electricity decreases between 2.75% and 4%, and the total operational cost decreases between 3.6% and 10.5%. As a result, the profitability of all technologies also decreases in the long-run. As expected, the technologies providing frequency regulation services are better off. In particular, the profitability of the natural gas power plants is the one increasing most, with a rate of return between 2.22 and 4.22 percent points higher under the market-based regulation compared to the cost-based one. On the contrary, under market-based regulation the rate of return of photovoltaic and eolic power plants decreases 3.3% and 2.7% respectively. The reason for this effect is that renewable sources do not provide frequency regulation services and need to buy energy in the spot market to provide the reserves corresponding to their energy generation. Finally, the results show that there are no significant differential effects between the regulatory schemes in terms of incentives to invest.

## Conclusions

In this study we evaluate the role of frequency regulation services in a power system with high penetration of renewables. In particular, one concern in the academic literature is that depending on the type of regulation considered, the incentives to invest in technologies that provide this service might diminish significantly. The simulation performed for the case of Chile show no significant differential effects in terms of incentives to invest between a regulatory scheme marked-based compare to one cost-based.

## References

Agostini, C., S. Nasirov and C. Silva (2016), Assessment of Barriers and Opportunities for Renewable Energy Development in Chile”, Energy Sources, Part B: Economics, Planning, and Policy 11(2).

Carrión, M. and J.M. Arroyo (2006), A computationally efficient mixed-integer linear formulation for the thermal unit commitment problem, IEEE Transactions on Power Systems 21(3).

Eftekharnejad, S., V. Vittal, G.T. Heydt, B. Keel, and J. Loehr (2013), Impact of Increased Penetration of Photovoltaic Generation on Power Systems, Power Systems, IEEE Transactions 28(2).

Frangioni, A., C. Gentile, and F. Lacalandra (2009), Tighter approximated MILP formulations for unit commitment problems, IEEE Transactions  on Power Systems 24(1).

Nasirov, S., C. Agostini and C. Silva (2016), Solar PV Planning Toward Sustainable Development in Chile: Challenges and Recommendations, Journal of Environment and Development 25(1).

Traber, T. and C. Kemfert (2011), Gone with the wind? Electricity market prices and incentives to invest in thermal power plants under increasing wind energy supply, Energy Economics 33(2).

Woo, C.K., I. Horowitz, J. Moore, and A. Pacheco (2011), The impact of wind generation on the electricity spot-market price level and variance: The Texas experience, Energy Policy 39(7).